## Slide 1: SOFTENING METHOD OF WATER
PREPARED BY PROF. NAZMA AHMED
B.E. FIRST SEMESTER ENGINEERING CHEMISTRY

## Slide 2: TREATMENT OF WATER:
The Process of removing soluble salts of calcium and magnesium from hard water is known as softening of water.
The softening of water is based on the principal that, the soluble salts of calcium and magnesium are converted into their insoluble salts. Thus the insoluble salts get separated from water and it becomes soft.
The methods of softening hard water are grouped into two categories as,
Methods of softening temporary hard water:
There are two different methods of softening temporary hard water as,
Boiling Method
Clark’s method

## Slide 3: Boiling Method
The method of softening the temporary hard water by simply boiling it is known as boiling method. In this method on boiling at high temperature, the bicarbonates of calcium and magnesium get decomposed into their respective insoluble carbonates. This method can not be used on large scale.
Ca (HCO3) 2CaCO3 +H2O+CO2
Mg(HCO3)2MgCO3 +H2O+CO2
Soluble bicarbonates insoluble carbonates

## Slide 4: Clark’s Method :
The method of softening the temporary hard water by using Lime is known is as Clark’s method. In this method, the calculated quantity of lime is added to hard water. The lime reacts with soluble bicarbonates of calcium and magnesium to produce respective insoluble carbonates. In this method, excess lime should not be used because the excess lime remaining behind in water causes hardness of water.
Ca (HCO3)2+Ca (OH)2 CaCO3 +CaCO3 +2H2O

## Slide 5
Mg (HCO3)2+2Ca (OH)2 Mg(OH)2 + 2CaCO3 +2H2O
Soluble bicarbonates lime insoluble hydroxide & carbonates

## Slide 6: Methods of softening permanent hard water :
There are four different methods of softening permanent hard water as,
Soda ash method
Lime soda method
Permutite method
Ion exchange method.

## Slide 7: 1).Soda Ash Method:
Soda ash is commercial name of sodium carbonate (Na2CO3). In soda ash method, the soda ash is added to hard water. The soda ash reacts with the soluble salts of calcium and magnesium from hard water to produce insoluble carbonates. Thus the water becomes soft.
Ca (HCO3)2+Na2CO3  CaCO3 +2NaHCO3
CaCl2 +Na2CO3  CaCO3 +2NaCl
Mg (HCO3)2 +NaCO3 MgCO3 +2NaHCO3

## Slide 8: 2) Lime Soda Method:
Lime soda method is combination of Clark’s method and soda ash method. In this method both temporary and permanent hardness of water is removed.
The lime reacts with bicarbonates and carbonate while the soda ash reacts with chlorides and sulphate to produce insoluble carbonates. Thus the water becomes soft.

## Slide 9: EQUATIONS
Ca (HCO3)2 + Ca (OH)2  +CaCO3 +2H2O
Mg (HCO3)2+2Ca (OH)2 Mg(OH)2 + 2CaCO3 +2H2O
MgCl2 +Na2CO3  MgCO3+2NaCl
CaSO4 + Na2CO3  CaCO3+Na2SO4
MgSO4 +Na2CO3 MgCO3 +Na2SO4
MgCO3 +Ca (OH)2 CaCO3 +Mg(OH)2

## Slide 10: FOUR METHODS OF LIME – SODA PROCESS
Batch cold process
Continuous cold process
Batch hot process
Continuous hot process

## Slide 11: THANK YOU